## Scenario Inputs
AZADrg-DWtE ¦ SCENARIO INPUTS
Version 2.0 • Blue cells are editable • Conceptual assumptions only
01 / DEPLOYMENT & OPERATION
DWtE sets | 1500 | sets | One set contains 3 AFC chambers.
Active chambers per set | 2 | chambers | 2+1 standard; one chamber on standby.
Waste feed per active chamber | 150 | kg/h | Conceptual 150–200 kg/h; not validated.
Gross output per active chamber | 30 | kWe | Conceptual: two 15 kWe generators.
Operating hours per day | 16 | h/day | Same operating schedule for waste and electricity.
Operating days per year | 300 | days/year | Assumed availability, not verified.
Auxiliary electricity share | 15 | % of gross | Placeholder, not measured.
02 / COST ASSUMPTIONS
Fabrication allowance per set | 100 | KRW million/set | Aspirational target; not a supplier quotation.
Other project costs per set | 0 | KRW million/set | 0 means excluded, NOT free.
Annual O&M per set | 0 | KRW million/year | 0 means excluded, NOT free.
03 / OPTIONAL TRANSPORT & CLIMATE
Avoided waste transport distance | 0 | km/tonne | Only if defensible local comparison.
Transport emission factor | 0 | kg CO2e/tonne-km | Must be supported by transport mode/source.
Verified net lifecycle factor | 0 | tCO2e/tonne | Only from LCA; do not double-count transport.
04 / CENTRALIZED WtE REFERENCE
Centralized WtE annual target | 900000 | tonnes/year | Illustrative project reference, not universal.
Centralized WtE power capacity | 80 | MW | Reference output; net/gross basis in B27.
Reference power basis | Net | Net / Gross | Avoid comparing gross to net as equivalent.
IMPORTANT: Inputs are hypothetical engineering and commercial assumptions. No permit, performance warranty, financial recommendation, or verified CO2 reduction is implied.

## Dashboard
AZADrg-DWtE ¦ DASHBOARD
AFC-based distributed treatment • Gross and net values kept separate
DEPLOYMENT PERFORMANCE
Total AFC chambers | 4500 | chambers
Active AFC chambers | 3000 | chambers
Operating hours per year | 4800 | h/year
Waste treatment per set | 1440 | tonnes/year
Annual waste treatment | 2160000 | tonnes/year
Gross generation capacity | 90 | MW gross
Estimated net capacity | 76.5 | MW net, assumed
Annual gross electricity | 432 | GWh/year
Annual estimated net electricity | 367.2 | GWh/year
INVESTMENT ALLOWANCES — NOT FULL EPC COST
Fabrication allowance | 150 | KRW billion
Other project allowance | 0 | KRW billion
Combined capital allowance | 150 | KRW billion
Annual O&M allowance | 0 | KRW billion/year
EQUAL TREATMENT TARGET — CONCEPTUAL
Reference waste treatment | 900000 | tonnes/year
Required DWtE sets | 625 | sets
Matched gross capacity | 37.5 | MW gross
Matched estimated net capacity | 31.875 | MW net, assumed
Reference WtE capacity | 80 | MW (see reference basis)
TRANSPORT & LIFECYCLE — DISTINCT INDICATORS
Avoided transport | 0 | million tonne-km/year
Indicative transport CO2e avoided | 0 | tCO2e/year
Assumed lifecycle CO2e change | 0 | tCO2e/year
CAUTION: Gross vs net power must not be compared as like-for-like. CO2e figures are zero by default, not verified reductions. Plastic oxidation releases fossil CO2. Zero project-cost inputs mean omitted costs. Integrated AFC + steam + emissions performance remains unverified.

## WtE Comparison
CENTRALIZED WtE vs AZADrg DWtE
Comparison of infrastructure approaches, not a verified techno-economic ranking
CONCEPTUAL DIFFERENCES
Infrastructure | Large centralized plant | Distributed modular network
Capital deployment | Large upfront project financing | Phased investment potential
Site-specific scaling | Central facility sized for region | Set count adapted to local demand
Developing-region accessibility | Needs large financing / collection systems | Potentially lower entry barrier; feasibility required
Local fabrication | Specialist EPC delivery | Local AFC fabrication + specialist partners
Installation / relocation | Generally fixed plant | Possible modular redeployment; not validated
Waste transport | Regional collection and hauling | Closer-to-source treatment potential
Power efficiency | Large turbine scale advantage | Small turbine efficiency requires validation
Emission control | Centralized emissions infrastructure | Each site needs compliant control and monitoring
Operating risk | Concentrated facility dependence | Distributed outages, higher multi-site oversight
Permits / financing | Project developer responsible | Independent local developer responsible
AZADrg role | Not applicable | Concept and scenario presentation only
EQUAL ANNUAL TREATMENT TARGET
Target annual waste | 900000 | tonnes/year
Required DWtE sets | 625 | sets
DWtE gross at matched scale | 37.5 | MW gross
DWtE net (assumed) | 31.875 | MW net
Reference WtE capacity | 80 | MW (basis per inputs)
Waste composition, operating hours, reference net/gross basis, emissions systems and total project costs must be normalized before any efficiency or cost ranking. The 900,000 t/y / 80 MW reference is illustrative.

## Model & Roles
MODEL IDENTITY & RESPONSIBILITIES
Quiet Authority • DWtE is a strategically non-commercial infrastructure proposal
PIF / SSOF / AFC / IWI / DWtE
PIF | Post-Incineration Framework | Conceptual framework
SSOF | Self-Sustained Oxidation Flow | Thermal oxidation method
AFC | Augean Flow Core | Fully non-commercial technical method
IWI | Incineration without Incinerator | Application concept
DWtE | Distributed Waste-to-Energy | Strategically non-commercial infrastructure model
AZADrg ROLE vs INDEPENDENT PROJECT PROPONENT
Model / simulation | AZADrg presents concept and illustrative scenarios | Local proponents evaluate and adapt
AFC technology | Non-commercial technical sharing; use conditions apply | Follow agreed technology-use conditions
Engineering & design | No project engineering commitment | Developer and appointed engineers
Financing & contracts | No financing or procurement commitment | Local project participants
Permitting & compliance | No permit or regulatory representation | Local project proponent / regulators
Construction & operation | No construction or operations commitment | Local contractor / operator
Skid / container / relocation | Possible adaptation, not AZADrg deliverable | Developer validates design and approvals
Commercial participation | No AZADrg equipment sales or royalty assumption | Equipment, EPC and operations may be commercial
AZADrg brand / certification | No implied approval, warranty or endorsement | Obtain authorization for any brand/endorsement claim
Validation & reporting | Concept values labeled unverified | Independent site testing and transparent reporting

## Assumptions & Sources
ASSUMPTIONS & SOURCES
Scenario basis aligned to AZADrg-DWtE Simulator HTML V2.0
INPUT PROVENANCE AND LIMITATIONS
AFC chambers per set | 3 | AZADrg conceptual 2+1 arrangement; not a certified package
Operating chambers | 2 default | Two operating, one standby; three active removes standby
Waste feed | 150 kg/h/chamber default | Conceptual range 150–200 kg/h; actual throughput unverified
Gross electricity | 30 kWe/chamber | Two conceptual 15 kWe generators per active chamber
Operating time | 16 h/day × 300 days/year | Assumed, not demonstrated continuous availability
Auxiliary load | 15% | Unmeasured placeholder; does not establish net export
Fabrication allowance | KRW 100 million/set | User planning target; not an actual bid or EPC estimate
Other project costs | 0 default | Zero denotes omitted, not free; include environmental systems, civil, grid, logistics etc.
Annual O&M | 0 default | Zero denotes omitted, not free
Climate / transport | 0 default | No avoided CO2e claim without verified inputs and LCA
Reference WtE | 900,000 t/year, 80 MW net | Illustrative Fiji-scale benchmark from discussion; verify before external use
Data model | 2026-10-19 | Conceptual model; no integrated DWtE operating evidence
Source site | https://azadrg.net | AZADrg public concept and technical links
AFC field documentation | https://azadrg.cloud | AZADrg technical archive; separate from integrated DWtE validation
FORMULA DEFINITIONS
Annual treatment per set | active chambers × feed kg/h × hours/day × days/year ÷ 1,000
Gross power MW | sets × active chambers × gross kWe/chamber ÷ 1,000
Estimated net power | gross MW × (1 – auxiliary % ÷ 100)
Gross annual energy GWh | gross MW × operating hours/year ÷ 1,000
Required sets | ROUNDUP(reference annual tonnes ÷ annual tonnes per set, 0)
Transport emissions tCO2e | annual tonnes × avoided km/tonne × kgCO2e/tonne-km ÷ 1,000
LCA scenario tCO2e | annual tonnes × user-supplied tCO2e/tonne; do not add transport if already included